## H-80
| Min | [11 empty] | H80 | Kwhrs
Wind Speed | Jan | Feb | March | April | May | June | July | Aug | Sept | Oct | Nov | Dec |  | Jan | Feb | March | April | May | June | July | Aug | Sept | Oct | Nov | Dec | By Speed
0 | 1302 | 2371 | 2826 | 3081 | 4076 | 5787 | 4425 | 5553 | 4809 | 4405 | 2556 | 2345
1.5 | 1968 | 3475 | 3789 | 3581 | 4890 | 5771 | 4952 | 6814 | 6009 | 3811 | 3484 | 3244
2.5 | 7723 | 10242 | 9561 | 8163 | 12547 | 12134 | 14577 | 13954 | 13947 | 8830 | 9725 | 9852 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
3.5 | 8045 | 8117 | 8326 | 7647 | 9502 | 10458 | 11385 | 9844 | 10034 | 9200 | 8207 | 8926 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
4.5 | 6657 | 5437 | 5409 | 6908 | 6117 | 5543 | 5473 | 4906 | 5239 | 7370 | 6738 | 6607 | 0.1 | 11.095 | 9.0617 | 9.015 | 11.5133 | 10.195 | 9.2383 | 9.1217 | 8.1767 | 8.7317 | 12.2833 | 11.23 | 11.0117 | 120.6733
5.5 | 5465 | 4064 | 4468 | 5550 | 3616 | 2304 | 1982 | 1916 | 2188 | 4635 | 4688 | 4978 | 0.25 | 22.7708 | 16.9333 | 18.6167 | 23.125 | 15.0667 | 9.6 | 8.2583 | 7.9833 | 9.1167 | 19.3125 | 19.5333 | 20.7417 | 191.0583
6.5 | 4355 | 3287 | 3691 | 3741 | 1737 | 1061 | 668 | 595 | 901 | 2815 | 2856 | 3296 | 0.375 | 27.2188 | 20.5437 | 23.0688 | 23.3813 | 10.8562 | 6.6312 | 4.175 | 3.7188 | 5.6312 | 17.5938 | 17.85 | 20.6 | 181.2688
7.5 | 3130 | 2458 | 2559 | 2283 | 727 | 476 | 230 | 153 | 381 | 1531 | 1845 | 1959 | 0.575 | 29.9958 | 23.5558 | 24.5237 | 21.8788 | 6.9671 | 4.5617 | 2.2042 | 1.4663 | 3.6513 | 14.6721 | 17.6812 | 18.7737 | 169.9317
8.5 | 2130 | 1721 | 1529 | 1300 | 318 | 182 | 72 | 43 | 166 | 724 | 1269 | 1136 | 0.75 | 26.625 | 21.5125 | 19.1125 | 16.25 | 3.975 | 2.275 | 0.9 | 0.5375 | 2.075 | 9.05 | 15.8625 | 14.2 | 132.375
9.5 | 1378 | 1128 | 838 | 716 | 152 | 58 | 23 | 12 | 73 | 305 | 846 | 678 | 0.825 | 18.9475 | 15.51 | 11.5225 | 9.845 | 2.09 | 0.7975 | 0.31625 | 0.165 | 1.0037 | 4.1937 | 11.6325 | 9.3225 | 85.3462
10.5 | 833 | 714 | 435 | 385 | 70 | 16 | 6 | 4 | 33 | 120 | 562 | 394 | 0.925 | 12.8421 | 11.0075 | 6.7062 | 5.9354 | 1.0792 | 0.24667 | 0.0925 | 0.061667 | 0.50875 | 1.85 | 8.6642 | 6.0742 | 55.0683
11.5 | 456 | 407 | 209 | 214 | 32 | 4 | 1 | 1 | 12 | 39 | 386 | 211 | 0.975 | 7.41 | 6.6137 | 3.3963 | 3.4775 | 0.52 | 0.065 | 0.01625 | 0.01625 | 0.195 | 0.63375 | 6.2725 | 3.4287 | 32.045
12.5 | 220 | 209 | 96 | 114 | 11 | 1 |  |  | 5 | 12 | 258 | 102 | 1 | 3.6667 | 3.4833 | 1.6 | 1.9 | 0.18333 | 0.016667 | 0 | 0 | 0.083333 | 0.2 | 4.3 | 1.7 | 17.1333
13.5 | 86 | 101 | 41 | 61 | 3 | 1 |  |  | 1 | 4 | 160 | 46 | 1 | 1.4333 | 1.6833 | 0.68333 | 1.0167 | 0.05 | 0.016667 | 0 | 0 | 0.016667 | 0.066667 | 2.6667 | 0.76667 | 8.4
14.5 | Min Jan: 32; Min Feb: 45; Min March: 15; Min April: 31; Min Oct: 1; Min Nov: 99; Min Dec: 19 | 1 | 0.53333 | 0.75 | 0.25 | 0.51667 | 0 | 0 | 0 | 0 | 0 | 0.016667 | 1.65 | 0.31667 | 4.0333
15.5 | Min Jan: 10; Min Feb: 18; Min March: 6; Min April: 13; Min Nov: 55; Min Dec: 7 | 0.95 | 0.15833 | 0.285 | 0.095 | 0.20583 | 0 | 0 | 0 | 0 | 0 | 0 | 0.87083 | 0.11083 | 1.7258
16.5 | Min Jan: 4; Min Feb: 7; Min March: 2; Min April: 5; Min Nov: 31; Min Dec: 3 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
17.5 & Up | Min Jan: 3; Min Feb: 2; Min March: 1; Min April: 3; Min Nov: 30; Min Dec: 1 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[13 empty] | Monthly | 162.6967 | 130.94 | 118.59 | 119.0454 | 50.9825 | 33.4487 | 25.0842 | 22.1254 | 31.0133 | 79.8725 | 118.2138 | 107.0467
Calculated Power Generation of the SouthWest Wisper H80 at the given site. | [12 empty] | Yearly | 999.0592
Please note; these numbers may not represent the actual performance of the given wind turbine.

## XL1
| Min | [11 empty] | XL1 PWR | Kwhrs
Wind Speed | Jan | Feb | March | April | May | June | July | Aug | Sept | Oct | Nov | Dec |  | Jan | Feb | March | April | May | June | July | Aug | Sept | Oct | Nov | Dec | By Speed
0 | 1302 | 2371 | 2826 | 3081 | 4076 | 5787 | 4425 | 5553 | 4809 | 4405 | 2556 | 2345 | 0
1.5 | 1968 | 3475 | 3789 | 3581 | 4890 | 5771 | 4952 | 6814 | 6009 | 3811 | 3484 | 3244 | 0
2.5 | 7723 | 10242 | 9561 | 8163 | 12547 | 12134 | 14577 | 13954 | 13947 | 8830 | 9725 | 9852 | 0.0019449 | 0.25034 | 0.332 | 0.30992 | 0.26461 | 0.40672 | 0.39333 | 0.47252 | 0.45232 | 0.4521 | 0.28623 | 0.31524 | 0.31936 | 4.2547
3.5 | 8045 | 8117 | 8326 | 7647 | 9502 | 10458 | 11385 | 9844 | 10034 | 9200 | 8207 | 8926 | 0.021394 | 2.8686 | 2.8943 | 2.9688 | 2.7267 | 3.3881 | 3.729 | 4.0595 | 3.5101 | 3.5778 | 3.2804 | 2.9264 | 3.1827 | 39.1124
4.5 | 6657 | 5437 | 5409 | 6908 | 6117 | 5543 | 5473 | 4906 | 5239 | 7370 | 6738 | 6607 | 0.058348 | 6.4737 | 5.2873 | 5.26 | 6.7178 | 5.9485 | 5.3903 | 5.3223 | 4.7709 | 5.0947 | 7.167 | 6.5524 | 6.425 | 70.41
5.5 | 5465 | 4064 | 4468 | 5550 | 3616 | 2304 | 1982 | 1916 | 2188 | 4635 | 4688 | 4978 | 0.12156 | 11.0719 | 8.2335 | 9.052 | 11.2441 | 7.3259 | 4.6678 | 4.0154 | 3.8817 | 4.4328 | 9.3903 | 9.4977 | 10.0852 | 92.8983
6.5 | 4355 | 3287 | 3691 | 3741 | 1737 | 1061 | 668 | 595 | 901 | 2815 | 2856 | 3296 | 0.22367 | 16.2344 | 12.2532 | 13.7592 | 13.9456 | 6.4751 | 3.9552 | 2.4901 | 2.218 | 3.3587 | 10.4937 | 10.6465 | 12.2867 | 108.1163
7.5 | 3130 | 2458 | 2559 | 2283 | 727 | 476 | 230 | 153 | 381 | 1531 | 1845 | 1959 | 0.36467 | 19.0237 | 14.9394 | 15.5533 | 13.8758 | 4.4186 | 2.8931 | 1.3979 | 0.92991 | 2.3157 | 9.3052 | 11.2137 | 11.9066 | 107.7729
8.5 | 2130 | 1721 | 1529 | 1300 | 318 | 182 | 72 | 43 | 166 | 724 | 1269 | 1136 | 0.5154 | 18.2968 | 14.7835 | 13.1342 | 11.1671 | 2.7316 | 1.5634 | 0.61848 | 0.36937 | 1.426 | 6.2192 | 10.9008 | 9.7583 | 90.9688
9.5 | 1378 | 1128 | 838 | 716 | 152 | 58 | 23 | 12 | 73 | 305 | 846 | 678 | 0.68072 | 15.6339 | 12.7976 | 9.5074 | 8.1233 | 1.7245 | 0.65803 | 0.26094 | 0.13614 | 0.82821 | 3.4603 | 9.5982 | 7.6922 | 70.4207
10.5 | 833 | 714 | 435 | 385 | 70 | 16 | 6 | 4 | 33 | 120 | 562 | 394 | 0.85576 | 11.8809 | 10.1836 | 6.2043 | 5.4912 | 0.99839 | 0.2282 | 0.085576 | 0.057051 | 0.47067 | 1.7115 | 8.0157 | 5.6195 | 50.9465
11.5 | 456 | 407 | 209 | 214 | 32 | 4 | 1 | 1 | 12 | 39 | 386 | 211 | 1.0405 | 7.908 | 7.0583 | 3.6245 | 3.7112 | 0.55495 | 0.069369 | 0.017342 | 0.017342 | 0.20811 | 0.67635 | 6.6941 | 3.6592 | 34.1988
12.5 | 220 | 209 | 96 | 114 | 11 | 1 |  |  | 5 | 12 | 258 | 102 | 1.167 | 4.2788 | 4.0649 | 1.8671 | 2.2172 | 0.21394 | 0.019449 | 0 | 0 | 0.097246 | 0.23339 | 5.0179 | 1.9838 | 19.9938
13.5 | 86 | 101 | 41 | 61 | 3 | 1 |  |  | 1 | 4 | 160 | 46 | 1.1961 | 1.7144 | 2.0135 | 0.81735 | 1.2161 | 0.059806 | 0.019935 | 0 | 0 | 0.019935 | 0.079742 | 3.1897 | 0.91703 | 10.0475
14.5 | Min Jan: 32; Min Feb: 45; Min March: 15; Min April: 31; Min Oct: 1; Min Nov: 99; Min Dec: 19 | 1.167 | 0.62237 | 0.87521 | 0.29174 | 0.60293 | 0 | 0 | 0 | 0 | 0 | 0.019449 | 1.9255 | 0.36953 | 4.7067
15.5 | Min Jan: 10; Min Feb: 18; Min March: 6; Min April: 13; Min Nov: 55; Min Dec: 7 | 1.1183 | 0.18639 | 0.3355 | 0.11183 | 0.2423 | 0 | 0 | 0 | 0 | 0 | 0 | 1.0251 | 0.13047 | 2.0316
16.5 | Min Jan: 4; Min Feb: 7; Min March: 2; Min April: 5; Min Nov: 31; Min Dec: 3 | 1.0648 | 0.07099 | 0.12423 | 0.035495 | 0.088737 | 0 | 0 | 0 | 0 | 0 | 0 | 0.55017 | 0.053242 | 0.92286
17.5 & Up | Min Jan: 3; Min Feb: 2; Min March: 1; Min April: 3; Min Nov: 30; Min Dec: 1 | 1.0114 | 0.050568 | 0.033712 | 0.016856 | 0.050568 | 0 | 0 | 0 | 0 | 0 | 0 | 0.50568 | 0.016856 | 0.67424
[13 empty] | Monthly | 116.5659 | 96.2096 | 82.514 | 81.685 | 34.2462 | 23.5871 | 18.7402 | 16.3429 | 22.2819 | 52.3229 | 88.5746 | 74.4058
Calculated Power Generation of the Bergey X.L-1 at the given site. | [12 empty] | Yearly | 707.476
Please note; these numbers may not represent the actual performance of the given wind turbine.

## Excel-S
| Min | [11 empty] | Excel-S | Kwhrs
Wind Speed | Jan | Feb | March | April | May | June | July | Aug | Sept | Oct | Nov | Dec |  | Jan | Feb | March | April | May | June | July | Aug | Sept | Oct | Nov | Dec | By Speed
0 | 8451 | 7017 | 12532 | 10786 | 38579 | 17084 | 17084 | 19271 | 19672 | 11873 | 17637 | 9815 | 0
1.5 | 4326 | 4393 | 3984 | 3864 | 384 | 4670 | 4670 | 4054 | 4762 | 4062 | 4762 | 4120 | 0
2.5 | 11072 | 11643 | 9070 | 7986 | 781 | 8914 | 8914 | 8942 | 8929 | 10762 | 9247 | 9341 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
3.5 | 8467 | 9335 | 6735 | 7491 | 826 | 6093 | 6093 | 6184 | 5369 | 7392 | 5433 | 6293 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
4.5 | 5408 | 6055 | 4375 | 5827 | 900 | 3658 | 3658 | 3255 | 2862 | 4540 | 3252 | 4888 | 0.20228 | 18.2321 | 20.4134 | 14.7495 | 19.6447 | 3.0342 | 12.3323 | 12.3323 | 10.9737 | 9.6487 | 15.3058 | 10.9635 | 16.479 | 164.1094
5.5 | 3098 | 3136 | 2827 | 3774 | 804 | 1858 | 1858 | 1347 | 1295 | 2582 | 1814 | 3477 | 0.64729 | 33.422 | 33.8319 | 30.4984 | 40.7148 | 8.6737 | 20.0445 | 20.0445 | 14.5318 | 13.9708 | 27.8552 | 19.5699 | 37.5107 | 300.6682
6.5 | 1615 | 1381 | 1857 | 2179 | 622 | 877 | 877 | 515 | 536 | 1341 | 914 | 2193 | 1.335 | 35.935 | 30.7283 | 41.3196 | 48.4844 | 13.84 | 19.5139 | 19.5139 | 11.4591 | 11.9264 | 29.8382 | 20.3372 | 48.7959 | 331.6919
7.5 | 785 | 549 | 1167 | 1105 | 417 | 384 | 384 | 166 | 211 | 634 | 440 | 1379 | 2.0633 | 26.9942 | 18.8787 | 40.1302 | 37.9982 | 14.3396 | 13.2048 | 13.2048 | 5.7083 | 7.2558 | 21.8017 | 15.1305 | 47.4204 | 262.0673
8.5 | 348 | 197 | 652 | 495 | 244 | 163 | 163 | 48 | 88 | 303 | 189 | 909 | 2.9533 | 17.129 | 9.6966 | 32.0923 | 24.3646 | 12.01 | 8.0231 | 8.0231 | 2.3626 | 4.3315 | 14.9141 | 9.3028 | 44.7422 | 186.9919
9.5 | 142 | 68 | 338 | 195 | 128 | 64 | 64 | 13 | 37 | 146 | 73 | 591 | 3.9242 | 9.2873 | 4.4475 | 22.1065 | 12.7537 | 8.3717 | 4.1858 | 4.1858 | 0.85025 | 2.4199 | 9.5489 | 4.7745 | 38.6536 | 121.5855
10.5 | 54 | 20 | 153 | 67 | 65 | 24 | 24 | 4 | 19 | 77 | 24 | 361 | 4.9761 | 4.4785 | 1.6587 | 12.689 | 5.5566 | 5.3907 | 1.9904 | 1.9904 | 0.33174 | 1.5758 | 6.386 | 1.9904 | 29.9394 | 73.9777
11.5 | 22 | 4 | 69 | 22 | 30 | 8 | 8 | 1 | 11 | 41 | 8 | 216 | 6.0684 | 2.2251 | 0.40456 | 6.9786 | 2.2251 | 3.0342 | 0.80912 | 0.80912 | 0.10114 | 1.1125 | 4.1467 | 0.80912 | 21.8462 | 44.5015
12.5 | 9 | 0 | 27 | 7 | 12 | 3 | 3 | 0 | 5 | 23 | 3 | 118 | 7.2821 | 1.0923 | 0 | 3.2769 | 0.84957 | 1.4564 | 0.3641 | 0.3641 | 0 | 0.60684 | 2.7915 | 0.3641 | 14.3214 | 25.4872
13.5 | 3 | 0 | 9 | 2 | 5 | 1 | 1 | 0 | 2 | 11 | 1 | 58 | 7.6866 | 0.38433 | 0 | 1.153 | 0.25622 | 0.64055 | 0.12811 | 0.12811 | 0 | 0.25622 | 1.4092 | 0.12811 | 7.4304 | 11.9143
14.5 | 1 | 0 | 4 | 0 | 2 | 0 | 0 | 0 | 1 | 6 | 0 | 27 | 8.0912 | 0.13485 | 0 | 0.53941 | 0 | 0.26971 | 0 | 0 | 0 | 0.13485 | 0.80912 | 0 | 3.641 | 5.529
15.5 | 0 | 0 | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 4 | 1 | 10 | 6.4729 | 0 | 0 | 0.21576 | 0 | 0 | 0 | 0 | 0 | 0 | 0.43153 | 0.10788 | 1.0788 | 1.834
16.5 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 | 4 | 4.8547 | 0 | 0 | 0.080912 | 0 | 0 | 0 | 0 | 0 | 0 | 0.16182 | 0 | 0.32365 | 0.56638
17.5 & Up | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 2 | 2.4274 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.040456 | 0 | 0.080912 | 0.12137
[13 empty] | Monthly | 149.3146 | 120.0596 | 205.8302 | 192.8479 | 71.0608 | 80.5962 | 80.5962 | 46.3186 | 53.2393 | 135.4403 | 83.4781 | 312.2636
Calculated Power Generation of the Bergey Excel-S at the given site. | [12 empty] | Yearly | 1531.0454
Please note; these numbers may not represent the actual performance of the given wind turbine.